Lab # 1

Advanced Controls 2

Engineering 0138

Matthew MacDonald

Mike Blizman

Dave Campomizzi

Robert Childs

Purpose:

The purpose of this experiment was to observe and understand the operation of an On/Off controller. Things to note in this lab include the concept of a limit cycle, harmonics, as well as the response of an On/Off controller.

Theory:

An On/Off controller is relatively simple, the system will generally have a tendency to stabilize to a point, ( In our case the temperature gets too hot ) when the system reaches a particular point an actuator responds to push the system away from the stabilizing point ( In our case a fan runs on to pass air by to cool it ).  When the system reaches a point lower then the actuating point the actuator then turns off.

This in turn creates an effect called a limit cycle. This type of controller does not result in a constant output. The output fluctuates between the points where the system is when the controller actuates and when it stops actuating. The steady state of the system when the controller is being applied becomes a harmonic waveform that never settles.

There are 3 basic kinds of limit cycles:

( Although this is a case the can occur in non linear systems, the controller used in this system results in a closed loop function that is not linear ) The case that we deal with in this system is the stable limit cycle, except in extreme cases. This Waveform can be expressed as a Fourier Series Transform of the form:

However this will not be discussed in this lab.

Procedure:

The procedure was followed from the guild lines set out in the Lab Manual for Engineering 0138, as referenced.

Block Diagram:

Here you can see that the system is in a closed loop feedback with a set point, the output signal is compared to a set point and an error signal is generated. This error is feed into a controller and either a high or a low signal is outputted from the controller to adjust the process.

Controller:

Here the controller is identified. The process output is summed with a set point that is of the form of an adjustable pot so the value may be varied. The summed signal is the error signal and can be found at point D. The Value of D is compared with another pot, the delta pot. The output of the comparator is either high or low. The signal is then summed with a Relay Bias, then Summed with a Process Bias, and fed to the system.

Experimental Values:

Points A and B were disconnected and the values a C were observed. The set point pot was adjusted so that the comparator could be observed to switch at the upper and lower desired bounds. The Relay Bias pot was adjusted so that the value at C was exactly zero when the comparator was low. The values of the three Parameters are as follows:

- Delta Pot = -0.3 V

- D1 = 0 V

- D2 = 12.7 V

The controller was then connected to the process and the responses to the actuations were observed. The first actuation was from low to high.

The gain ( K ) was calculated by dividing the process output, but the process input. The time delay was calculated from by measuring the time taken from the actuator to change for the Process Output to begin to change. Tao was recorded from the osciliscope.

The same values were calculated from the high to low set of the Process input.

The average was calculated from the two observations. Note that they are very close.

The system was allowed to operate and process inputs and outputs were observed. It is clear here that there is a limit cycle that exists, the frequency of this limit cycle is approximately 3.6 seconds.

Conclusion:

From this experiment we were able to observe how a linear system, combined with a non linear controller can exhibit limit cycles, were stability becomes a bounded state. There is no settling point, but rather a settling frequency.

An On/Off controller like this relay one, is an simple effective way of keeping a particular process within 2 bounds. Simple controllers are desired when the process is given leeway as to what it’s output may be. A controller such as this one might work well as a fish tank temperature controller, were there is a bound region the temperature must be kept.

As far as applications where a process must have more precision this type of controller becomes much less desirable, such as control systems on airplane wings, where there is not a large boundary region to work with. In a case such as this the actuator would have to switch on and off very quickly in order to keep the process bounded in a smaller region, this can case many types of actuators to wear out quickly.